## Slide 2
INTRODUCTION
EMBRYOLOGY
IMAGING MODALITIES
SPECIFIC CONDITION

## Slide 3: INTRODUCTION
The fetal hert develops from a series of complex and rapid changes which occur between the second and 8th week of intrauterine life
During the 3rd and 5th weeks cardiac structures fevelop most actively  most damage

## Slide 4: EMBRYOLOGY
Splanchnic mesoderm
Endocardial tube is the initial basic structure
Development characterized by rapid and complex changes
5 dilatations
  Common truncus arteriosus
  Bulbous cordis
  Common primitive ventricle
  Pcommon primitive atrium
  Sinus venosus

## Slide 5: CONT.
Truncus arteriosus  aorta and pulmonary trunk
Bulbus cordis  smooth part of RV (conus arteriosus) and smooth part of LV (aortic vestibule)
Primitve ventricle  trabeculated part of LV and RV
Pimitive atrium  trabeculated part of atria
Sinus venosus > smooth parts of RA; coronary sinus; oblique vein of LA

## Slide 6: NORMAL FETAL CIRCULATION
Oxygenated blood is carried by the umbilical vein through the ductus venosus and IVC  RA  LA through the foramen ovale  LV  systemic circulation through the aorta (bypassing lungs)
SVC & IVC  RA, RV an PA
Most of RV output passess through the PDA into the descending aorta to supply the lower parts of the fetus and umbilical arteries which supply the fetal placental plexus

## Slide 7: CHD IMAGING MODALITIES
Plain radiography
Echocardiography  1st line to assess anatomy and function esp. in congenital cardiac anomalies
Cardiac catheterization  definition of vascular anatomy
  Preserved for complex anomalies that cannot be resolved by echocardiography
  This is an invasive procedure, contrast is used.
CT  description of cardiac and vascular anatomy in relation to other structures of the chest
MRI  quantification of cardiac function and vascular flow in vivo

## Slide 8: CHEST RADIOGRAPH INDICATIONS
Suspected congenital heart disease
Cyanosis
Cardiac failure
Failure to thrive
Difficult in feeding in the neonatal period
Fainting spells

## Slide 9: CONT.
Standard views: erect PA or AP (children) chest; Left lateral
Role
  Provides clues of underlying congenital heart disease
  Instrumental in planin further investigations
  Limited use in neonated and young children
  May show related skeletal anomalies e.g. in trisomy 21
Assessment
  Cardiac and visceral situs  situs solitus, inversus, ambiguous (2/3 of the heart should be on the left side and 1/3 of the hear should be on the right, if vice versa  dextrocardia)
  Cardiac size and shape
  Mediastinum: aortic arch PA, trachea indentation
  Pulmonary vasculature: normal, plethora, oligemia, congestion
  Skeletal features: rib notching: coarctation of the aorta
  Post-surgical stigmata e.g. sternal sutures, implants

## Slide 10: CARDIAC SIZE MEASUREMENT
Measure the transverse diameter of the heart and compare that of the chest
50 – 55% in adults

## Slide 11: ECHOCARDIOGRAPHY
Gives a wealth of information (anatomical and physiologica) without ionizing radiation, patients discomfort or significant risk
ID M mode) 2D (most commonly used), 3D
Doppler echocardiography
  CFI, non-invasive angiogram
  Pulsed Doppler echo (valves)
  Continuous wave Doppler
Contrast echocardiography
  Microbubbles in the venous circulation

## Slide 12: CONTRAST ECHOCADIOGRAPHY
Use of intravascular contrast effects produced when microbubbles of gas present in solution are inected

## Slide 13: INDICATIONS
Myocardial perfusion can be investigated directly/ indirectly after intra-coronary/venous contrast injection with/ without DSA Better define anatomy not shown well on 2D
Enhancement of endocardial boundaries increasing sensitivity of wall motion abnormalities e.g. valvular regurgitation, shunts

## Slide 14: DOPPLER ECHO
Venus flow from IVC< SVC, pulmonary vessels and across the valves
Measure direction and speed of blood flowing through the heart and blood vessels
Check for abnormal communication between left and right side of the heart and regurgitation
Calculate cardiac output ejection fraction
Flow towards the transducer  red away from it  lye and turbulence flow mixture of red and blue-yellow

## Slide 15: CLINICAL APPLICATIONS OF ECHO
Congenital heart disease
Anatomical defects, shunts
Stress echo
Pericardial disease
Coronary artery disease
Cardiomyopathies
Valvular heart disease
Cardiac masses
Diseases of the aorta

## Slide 16: ANGIOCARDIOGRAPHY
Important technique for cardiac and great vessel anatomy
Coronary angiography commonest
  Transfemoral approach using Judkins or Amplatz catheters
Pulmonary angiography, for possible PTE
Adv; offers high resolution images of the heart and great vessels
Disadv; requires experienced hands and cardiac monitoring, invasive

## Slide 17: CONT.
Indications
  Complex congenital heart disease
  Valvular/ myocardial disease
  Ventricular function
Technique
  Right sided structures studed by introductng the catheter into peripheral vein
  Left sided  arterial approach
Use contrast

## Slide 18: CONT.
Equipment
  Fluoroscopy on a C-arm with DSA facilities, pressure recording deviece, ECG monitor, blood oxygen analyser, catheters
Angled views which place the pathological lesion at right angles  increase accuracu
Coplications
  Sudden death
  MI
  arrhythmias

## Slide 19: CARDIAC MRI
Excellent anatomic detal
Disadvantage
  Expensive
  Availability
  Metallic implants

## Slide 20: CLINICAL APPLICATIONS
Ventriculaar function analysis
Myocardial function at rest and during stress
Myocardial erfusion
Measurement of coronary flow
VHD pericardial pathology
Cardiac tumors and throbi
Carrdiomyopathies
Assessing great vessels  aortic/ pulmonary disease

## Slide 21: PULSE SEQUENCES USED
Tissue catheterization  done using T1 & T2W contrast enhancement and spectroscopy
T1W  best anatomic depiction
  Blood  show signal void
Gradient echo – impart bright signal to coherently flowing blood  white blood
Fast spin echo  vascular wall bright , blood black

## Slide 22: C/MRI CONT.
Gradient recalled echo-technique  applied for motion studies, to show flowing blood as well as caddiac motion
ECG gated MRI of the heart
Velocity mapping sequences
Images-tomographic slics, of any selected plane

## Slide 23: CONT.
Contrast  gadolinium
Myocardial perfusion
MR angiography: time of flight MRA, phase contrast MRA, contrast enhanced MRA Myocardial infaction
Ischemia