## Slide 1: BACTERIOLOGY SPOT TEST REVISION
KIMAIGA H.O
MBChB (University of Nairobi)

## Slide 2
Name the apparatus
  MacFieldes/ McIntosh
Describe how it functions
  It provides an anaerobic environment through pumping in of hydrogen and pumping out of oxygen.its has a pallidium catalyst, an indicator to show that the anerobic environment for bacterial growth has been achieved
What is the catalyst used?
  Pallidium catalyst
Mention 2 organisms isolated using this item
  Actinomyces, Bacteroides, Clostridium

## Slide 3
Name this equipment
  Autoclave
Mention 2 methods used for monitoring its efficacy.
  Using Browne’s tubes
  Using Bowie Dick tapes
  Using Bacillus stearothermophilus
State the conditions for sterilization
  15 pounds per sq .inch (100kpascals) at 121°c for 15 minutes
  30 pounds per sq.inch (200k Pascal’s) at 134°c for 3 minutes(reusable instruments)
State two materials that can be sterilized using this equipment
  Needle syringes, glassware

## Slide 4: Differential staining of an upper respiratory tract pathogen
Name the staining technique used.
  Alberts staining
Mention 2 culture media used for isolating the organism
  Potassium tellurite
  Loeffler’s serum agar
Name the organism under investigation
  C diphtheria

## Slide 5
Name the org that shows the features shown.
  C. diphtheria
State its clinical presentation.
  Pseudomembrane
  Mycocarditis
  Cranial nerve paralysis
Name the stain used.
  Albert, neissers, gram stain

## Slide 6: Culture on Blood Agar and identification test for a Gram Negative Bacilli
Name the phenomenon demonstrated
  Diane’s Phenomenon
Name the test and Comment on the results
  Urease test-Positive
Name the most likely genus
  Proteus
State two clinical conditions caused by the organism
  UTI
  Wound infections
  Septicemia
Mention the TSI result of this organism
  TSI; Alkaline slant, acid butt, gas (NLF);

## Slide 7
Identify the media shown
Name two components of this media

## Slide 8
Name two likely organisms to cause such a reaction on the TSI media.
  Salmonella typhi
  Proteus mirabilis
Whats the appearance of each organism on BA?
  Proteus, highly motile and swarming effect on blood agar.
  Salmonella:grey non haemolytic and mucoid
List at least two ways of differentiating the two organisms.
  Urease test
  Positive Weil Felix reaction

## Slide 9
Mention two diseases associated with the representetive organism?
  Enteric fever(necrosis, sloughing, typhoid ulcers, hepatospleno, int . Haemorrhage and perforation.)
  Gastroenteritis, Enterocolitis, septicaemia (bacteraemia),
Two drugs used for treatment?
  Enteric fever- ciproflaxacin and ceftriaxone
  Gastroenteritis- replacement of fluids
  Enterocolitis- usually self-limiting
  Bacteremia- ciprofloxacin, co-trimoxazole, ampicillin, amoxicillin.
  Salmonella meningitis- cefotaxime and ceftriaxone
  Chronic asymp carriers (cholecystectomy)

## Slide 10
Posible Organisms?
    Acid acid gas, no H2S ( E.coli and Klebsiella)
How does the colonies of the organism shown appear on BA?
  Klebsiella- Mucoid colonies on BA
  E. coli BA - Beta heamolytic
Mention two methods used to differentiate the organisms above?
  E. coli- IMViC (++--), Urease negative, KSM -ve
  Klebsiella- IMViC(--++), Urease positive, KSM+ve
Notes: CEEK

## Slide 11: Culture on MacConkey
Name 2 genera of likely gram negative bacilli
  CEEK
Mention two biochemical tests that can differentiate the two
  Indole test
  Urease test

## Slide 12: A culture of an enteric pathogen on a selective and special identification
Read and record the results on both media
  Acid acid gas, no H2S
What is the most likely organism?
  Serratia marcescens

## Slide 13: Lab results for an organism isolated from a thick-currant sputum of a patient
Indole | Methyl red | Vogus Proskaer | Citrate
-ve | -ve | +ve | +ve
Name one bacteria in the same tribe of Enterobacteriacae as the organism suspected above
  Klebsiella pneumonia
Name 2 most common bacterial organisms associated with atypical pneumonia
  Mycoplasma pneumonia
  Chlamydophilla pneumoniae

## Slide 14
Identify the item shown
  Castenada medium
Mention two clinical conditions for which it would be useful in investigating
  Waterhouse – Friederichsen syndrome Complication of N. meningitis
State the bacteria normally isolated in the medium.
  Brucella, salmonella(typhoid fever),
  Neisseria meningitidis
State the advantage of the item
  Trans

## Slide 15: Stained smear of sputum
Name the staining technique used
  Ziehl Neelsen
Comment on the result
  Positive- Bacilli can be seen
Name an alternative staining technique to identify this organism
  Kinyoun
  Auramine
  Rhodamine
Name the organism under investigation

## Slide 16: A diarrhoeal stool isolate on selective media
Name the most likely genus
  Vibrio
Name an enrichment media used in its isolation
  Alkaline peptone water
Name two components of the selective media
  TCBS

## Slide 17: Gram stain of an isolate from a stool specimen
Name the most likely genus
  E.coli
Mention the culture conditions for isolation of this organism
  BA – some strains beta heamolytic
  MAC- colonies are lactose fermenters (pink)
  Eosin- methylene blue (EMB) medium
  Characteristic green sheen- CLED

## Slide 18: Stained preparation of a CSF specimen
Name the organism under investigation
  Cryptocccus neoformans
Mention a biochemical test used for its identification
  Carbohydrate assimilation test
Mention an agent used in treatment
  Amphotericin B

## Slide 19
Identify a likely genus from this photography
  Treponema
Name two specific tests used to confirm diagnosis
Name two non-specific tests used in diagnosis

## Slide 20: An identification test
Name the test
  Coagulase test
Name the most likely TEST organism
  S. aureus
Name one other identification test that can be used
  Mannitol fermentation test

## Slide 21
Mention 2 genera that give the staining reaction shown
  Yersinia
  Corynobacteria

## Slide 22
Name the condition
  Ophthalmia neonatarum.
Name the causative organism?
  N. gonorrhea, Chlamydia trachomatis, Trichomonas Vaginalis.
What drug is used for treatment?
  Topical Erythromycin, 1% aqueous silver nitrate

## Slide 23
Name the condition
  Malignant pustule
Name the most likely organism associated with the condition
  B.antharacis
c. Name two antibiotics used in treatment
Doxycycline
Ciprofloxacin

## Slide 24
Name the most likely organism under investigation
Name two clinical conditions caused by the organism
c. Name two antibiotics used in treatment
d. Name the selective media used in isolation

## Slide 25
Name the most likely organism under investigation
Name two clinical conditions caused by the organism
c. Name two antibiotics used in treatment

## Slide 29
Name the medium shown
Name two organisms that can be isolated from the media above

## Slide 30: 1.Name the Media described above enriched media
2.An organism isolated from stool during an outbreak of diarrhea.
Name the most likely organism
E-coli,vibriocholerae
What are the constituents of the medium required for its growth?
Temp-35-37
5% Co2
Neutral ph

## Slide 31
Name the condition in the above picture and its most common causative organism
An organism causing an epidemic of wound infection in a hospital. What is the most likely organism and why?

## Slide 32
Name the method used above and its purpose
“Inverted fir tree “ appearance and gelatin liquefaction is associated with which microorganism?

## Slide 33: Culture of an anaerobic organism isolated from a gunshot wound
a)Name the organism and likely diagnosis
b)Name an identification test used for the organism
c)Suggest treatment

## Slide 34: Culture and Identification test of an organism from a high vaginal swab from a female with vaginal discharge
a)Name the organism and the test
b)Suggest two things useful for the treatment of this condition

## Slide 35
Culture and wet preparation of a microorganism isolated from sputum. a)Describe the culture (3 mks) b)What is the most likely cause? c)Mention two mechanisms though which the organism can cause disease

## Slide 36: Describe the condition in the photograph above
Who are the most likely to obtain this disorder?
Mention a diagnostic test for the above-causing pathogen
Nagler reaction is associated with which microorganism? What does it aim to demonstrate?

## Slide 37: Culture and Gram stained smear of an organism from the CSF of a 2 year-old patient
What is the most likely organism?
Name one test for confirming the identity of the organism

## Slide 38: A stained smear of sputum fix from a patient
What is the organism? Describe the morphology of the culture
Name the staining technique used
Name three unique factors needed for its growth and culture in the lab

## Slide 39
What organism does the aesculin test distinguish?
Enterococcus faecalis
Mention two other properties of the organism
It’s a strep,grmposive,cocci,and causes UTI,it can survive in 40 percent bile
Exotoxin B is associated with which organism and which condition?

## Slide 40: A stained smear from a patient with a history of chronic cough.
Name the staining technique.
What is the most likely diagnosis?
Name another bacterial organism that is most likely to have the above presentation

## Slide 41: An organism isolated from stool during an outbreak of diarrhoea
Name the most likely organism.
What are the constituents of the medium it is growing on?

## Slide 42: Culture of an organism isolated from a gunshot wound
Name the organism and the likely diagnosis.
Suggest treatment.

## Slide 43: Microscopic results from a patient with a genital ulcer
Which type of staining is demonstrated above?
Name two confirmatory tests for the organism demonstrated above.

## Slide 44
a) Name the most suitable method of sterilisation of the above equipment
b) What is the mechanism of action of the method given above

## Slide 45: Stained smear of an organism from the pus from the conjuctiva of a neonate and right is distinct inclusion body in iodine staining
Name two diseases associated with the likely organism?
The form in which the organism exists intracellularly

## Slide 46: An organism causing urinary tract infections with urinary catheters
Name the organism
Give reasons for the above

## Slide 47: Microscopic results of an organism isolated from a patient
Name the most suitable enrichment media used for isolation
Two virulence factors associated with the organism

## Slide 48
Y
Name one drug that has its mechanism of action at Part X
Name one drug with its action at Y and mode of resistance associated with it
X
Cell wall

## Slide 49
Define the test above and classify it.
Define the term Minimum Inhibitory concentration

## Slide 50: Staining technique used in bacteriology
Name the technique
Name genuses likely to be demonstrated

## Slide 51
Give differences between tuberculoid and lepromatous leprosy
State why the causative agent of the lesion shown above doesn,t obey Koch’s postulates.